## Calculator
Pump dose setting calculator | [5 empty] | Instructions:
Name |  |  | NHS number |  |  | File - Save As - Save in the patients electronic file DO NOT SAVE OVER THIS TEMPLATE
DOB |  |  | AGE | 126 | years
PUMP or MDI TDD |  | units/day |  |  |  | 1. Complete ALL the blue boxes to get suggested settings
Reduce MDI TDD |  |  | Weight (kg)
PUMP TDD | 0 | units/day | Units per kg | #DIV/0! |  | 2. Reduce MDI TDD: Clinical judgement for 10%, 20% or 30% (HbA1c, TIR, TDD & compliance)
Current Basal |  | units/day
Reduction of basal |  |  | Basal rate guidance |  |  | 3. Basal: Add current basal then select reduction based on clinical judgement as above
Total basal | 0 | units/day | Age | Basal %
Basal rates | units/hour |  | <7 years | 30% |  | 4. ISF: this is only a guide range
00:00-07.00 | 0 |  | 7yrs -puberty | 40%
07.00-10.00 | 0 |  | Pubertal |  |  | 5. ICR: this is only a guide
10.00-15.00 | 0 |  | Active | 40%
15.00-19.00 | 0 |  | > 4 bolus/day | 40% |  | 6. Compare the suggested settings with current settings (use your clinical judgement)
19:00-00:00 | 0 |  | < 4 bolus/day | 50%
7. Use clinical judgement to decide if keeping current settings or modifying
ISF | 1 unit lowers by | #DIV/0! | to | #DIV/0! | mmol/L | If >60% TIR and less than 4% TBR keep most of current settings
If 50-60% TIR consider some modification
ICR rules | Under 5 years | Under 12years | Over 12years |  |  | If <50% TIR consider lots of modification
Breakfast | 150 | 200 | 300
Midday | 250 | 250 | 350 |  |  | USE JUDGEMENT - CALCUALORS DO NOT KNOW THE HUMAN BEING - YOU DO
Evening | 250 | 250 | 350
9. Sign completed by and countersigned by
ICR Breakfast |  | 1 unit will cover | #DIV/0! | g carbohydrate | #DIV/0!
ICR meals |  | 1 unit will cover | #DIV/0! | g carbohydrate | #DIV/0! | 10. Go to the Sheet (bottom) for the AID system to be used and complete the empty blue boxes:
Basal rates - Automatically set with only one basal rate for 24 hrs (easier to update every 3/12)
Except T-Slim where if using suggested basal rates (in green boxes), highlight the green boxes
right click "Copy", then go to the T-Slim sheet, highlight the basal boxes , right click "Paste 123"
Completed | [5 empty] | ICR - Keep current ISC, "Paste 123" ICR settings in green from this page, or use clinical judgement
and go between the two
2026-08-05
ISF - Keep current ISF, "Paste 123" ISF settings in green from this page, or use clinical judgement
Countersigned | [5 empty] | and go between the two
|  |  | 2026-08-05 |  |  | 11. Have you - Saved As in the patients electronic file in their pump folder?
References | [5 empty] | 12. Print two copies of the AID sheet yopu have completed for for pump school
Hanas R, Adolfsson P. J Diabetes Sci Technol. 2017;11(2):247-252. | [5 empty] | Birmingham Women's and Children's Foundation Trust Diabetes Team would like the thank University Hospitals College London Diabetes Team for sharing their template we adapted. Together we are stronger!
Sherr et al 2022 ISPAD Guidlines pump therpay Pediatr Diabetes. 2022;1–26.
Phillip et al AID Concensus Statement Endocr Rev. 2023 Mar 4;44(2):254-280

## 780G
Pump dose setting calculator
Name | 0 |  | NHS number | 0
DOB | 0 |  | AGE | 126 | yrs
Basal Total | 0
Basal rates | units/hour |  | Carb ratios | 1u:g |  | Correction | 1u:mmol/L
00:00-24:00 | 0 |  | 00.00-10.00 |  |  | 00:00-24:00
07.00-10.00 |  |  | 10.00-15.00 |  |  | 07.00-10.00
10.00-15.00 |  |  | 15.00-19.00 |  |  | 10.00-15.00
15.00-19.00 |  |  | 19:00-00:00 |  |  | 15.00-19.00
19:00-00:00 | [5 empty] | 19:00-00:00
BG target | mmol/L |  | Max Bolus | 0 |  | Weight | 0
00:00-24:00 | 5.5 |  | Max basal | 0 |  | TDD | 0
|  |  | Low reservoir | 20 |  | Active Insulin | 3.0 hrs
0
Completed by | 0
2026-08-05
Countersigned by |  | 0
2026-08-05
References
Hanas R, Adolfsson P. J Diabetes Sci Technol. 2017;11(2):247-252.
Sherr et al 2022 ISPAD Guidlines pump therpay Pediatr Diabetes. 2022;1–26.
Phillip et al AID Concensus Statement Endocr Rev. 2023 Mar 4;44(2):254-280

## CamAPS
Pump dose setting calculator
Name | 0 |  | NHS number | 0
DOB | 0 |  | AGE | 126 | yrs
Basal Total | 0
Basal rates | units/hour |  | Carb ratios | 1u:g |  | Correction | 1u:mmol/L
00:00-24:00 | 0 |  | 00.00-10.00 |  |  | 00:00-24:00
07.00-10.00 |  |  | 10.00-15.00 |  |  | 07.00-10.00
10.00-15.00 |  |  | 15.00-19.00 |  |  | 10.00-15.00
15.00-19.00 |  |  | 19:00-24:00 |  |  | 15.00-19.00
19:00-00:00 | [5 empty] | 19:00-00:00
BG target | mmol/L |  | Max Bolus | 0 |  | Weight | 0
00:00-24:00 | 6.1 |  | Max basal | 0 |  | TDD | 0
|  |  | Low reservoir | 20 |  | Active Insulin | 3.0 hrs
|  |  | Daily Maximum | 0 |  | 0
(CamAPS Only)
Completed by | 0
2026-08-05
Countersigned by |  | 0
2026-08-05
References
Hanas R, Adolfsson P. J Diabetes Sci Technol. 2017;11(2):247-252.
Sherr et al 2022 ISPAD Guidlines pump therpay Pediatr Diabetes. 2022;1–26.
Phillip et al AID Concensus Statement Endocr Rev. 2023 Mar 4;44(2):254-280

## Omnipod 5
Pump dose setting calculator
Name | 0 |  | NHS number | 0
DOB | 0 |  | AGE | 126 | yrs
Basal Total | 0
Basal rates | units/hour |  | Carb ratios | 1u:g |  | Correction | 1u:mmol/L
00:00-24:00 | 0 |  | 00:00-10.00 |  |  | 00:00-10.00
07.00-10.00 |  |  | 10.00-15.00 |  |  | 10.00-15.00
|  |  | 15.00-19.00 |  |  | 15.00-19.00
15.00-19.00 |  |  | 19.00-24.00 |  |  | 19.00-24.00
19:00-00:00 |  |  | Reverese correction = OFF
BG target | mmol/L |  | Max Bolus | 0 |  | Weight | 0
00:00-24:00 | 6.1 |  | Max basal | 0 |  | TDD | 0
|  |  | Low Pod insulin | 20 |  | Active Insulin | 2.5 hrs
0
Completed by | 0
2026-08-05
Countersigned by |  | 0
2026-08-05
References
Hanas R, Adolfsson P. J Diabetes Sci Technol. 2017;11(2):247-252.
Sherr et al 2022 ISPAD Guidlines pump therpay Pediatr Diabetes. 2022;1–26.
Phillip et al AID Concensus Statement Endocr Rev. 2023 Mar 4;44(2):254-280

## T-Slim
Pump dose setting calculator
Name | 0 |  | NHS number | 7000154012
DOB | 0 |  | AGE | 126 | yrs
Basal Total | 0
Basal rates | units/hour |  | Carb ratios | 1u:g |  | Correction | 1u:mmol/L
00:00-07.00 | 0 |  | 00:00-07.00 |  |  | 00:00-07.00
07.00-10.00 | 0 |  | 07.00-10.00 |  |  | 07.00-10.00
10.00-15.00 | 0 |  | 10.00-15.00 |  |  | 10.00-15.00
15.00-19.00 | 0 |  | 15.00-19.00 |  |  | 15.00-19.00
19:00-00:00 | 0 |  | 19:00-00:00 |  |  | 19:00-00:00
BG target | mmol/L |  | Max Bolus | 0 |  | Weight | 0
00:00-07.00 | 6.1 |  | Max basal | 0 |  | TDD | 0
07.00-10.00 | 6.1 |  | Low reservoir | 20 |  | Active Insulin | 5hrs
10.00-15.00 | 6.1 |  |  | 0
15.00-19.00 | 6.1
19:00-00:00 | 6.1
Completed by | 0
2026-08-05
Countersigned by |  | 0
2026-08-05
References
Hanas R, Adolfsson P. J Diabetes Sci Technol. 2017;11(2):247-252.
Sherr et al 2022 ISPAD Guidlines pump therpay Pediatr Diabetes. 2022;1–26.
Phillip et al AID Concensus Statement Endocr Rev. 2023 Mar 4;44(2):254-280

## Codes
150
200
250
300
350
30% | 0 | 2 hrs | 5.5
40% | 0 | 2.5 hrs | 6.1
50% | 0 | 3.0 hrs | 6.7
|  | 3.5 hrs | 7.3
0%
10%
20%
30%

## Settings (hidden)
Pump dose setting calculator
Name | 0 |  | NHS number | 0
DOB | 0 |  | AGE | 126 | yrs
Basal Total | 0
Basal rates | units/hour |  | Carb ratios | 1u:g |  | Correction | 1u:mmol/L
00:00-07.00 |  |  | 00:00-07.00 |  |  | 00:00-07.00
07.00-10.00 |  |  | 07.00-10.00 |  |  | 07.00-10.00
10.00-15.00 |  |  | 10.00-15.00 |  |  | 10.00-15.00
15.00-19.00 |  |  | 15.00-19.00 |  |  | 15.00-19.00
19:00-00:00 |  |  | 19:00-00:00 |  |  | 19:00-00:00
BG target | mmol/L |  | Max Bolus | 0 |  | Weight | 0
00:00-07.00 |  |  | Max basal | 0 |  | TDD | 0
07.00-10.00 |  |  | Low reservoir | 0 |  | Active Insulin
10.00-15.00 |  |  | Daily Maximum | 0
15.00-19.00 |  |  | (CamAPS Only)
19:00-00:00
BG target | 780G |  | T-Slim X2 Control IQ uses 6.1mmol/L | CamAPS FX |  | Omnipod 5
Aggressive | 5.5 |  | 5.5 | 5.5 |  | 6.1
Starting | 6.1 |  | 6.1 | 6.1 |  | 6.1
Hypo issues | 6.7 |  | 6.7 | 6.7 |  | 6.7
Active Insulin | 780G |  | T-Slim X2 Control IQ uses 5 hrs | CamAPS FX |  | Omnipod 5
Aggressive | 2 hr |  | 2.5 hrs | 2.5 hrs |  | 2.5 hrs
Starting | 2.5 hrs |  | 3.0 hrs | 3.0 hrs |  | 3.0 hrs
Hypo issues | 3 hrs |  | 3.5 hrs | 3.5 hrs |  | 3.5 hrs
Completed by | 0
2026-08-05
Countersigned by |  | 0
2026-08-05
References
Hanas R, Adolfsson P. J Diabetes Sci Technol. 2017;11(2):247-252.
Sherr et al 2022 ISPAD Guidlines pump therpay Pediatr Diabetes. 2022;1–26.
Phillip et al AID Concensus Statement Endocr Rev. 2023 Mar 4;44(2):254-280